# – ATTENTION – ACTION REQUIRED –

# Hello and thank you for choosing the CTVue HMI products offered by Control Techniques.  The purpose of this notice is to inform you of a hardware enhancement now provided on select CTVue HMI panels.  These enhancements are referred to as hardware version 2 (or revision V2).   With these new enhancements it becomes necessary to update your CTVue Configurator software and to convert previously created database files. Please review the following for more details.

# Models affected:

CTVUE-308A, CTVUE-310C, CTVUE-310S, CTVUE-315C

The V2 hardware can be identified by the V2 revision on the box label and on the P/N label on the rear of the panel. i.e. P/N: CTVUE-310C V2

# Action Required:

You must update your version of CTVue Configurator software in order to use this unit. The software has been included along with the hardware for your convenience.

# Required Software:

CTVue Configurator – build 512P, or later.  (“Help” menu under “About…”)

# File Conversion: (Note: The file extension for the V1 and V2 database files remain as .ctv so it is important in step 5 below to rename the converted file and maintain the V1 file for use with V1 hardware)

- Use the included CD to install CTVue Configurator.

- During the install process, make sure to select “Repair” if given the option.

- Run CTVue Configurator and open the .ctv file to be converted.

- Under the “File” menu, select Convert to V2.

- Provide the file with a new name, and then download the file to your device.

# Enhancements

This new hardware provides the following enhancements…

- Increased processor speed

- Increased memory

- Dual USB host ports

- Optically isolated communications ports (except for CTVUE-308A)

- Dual Ethernet ports (optional)

For further assistance please contact Service@emersonct.com